# Solar Device Advance

An ESP32-based DIY solar/UPS controller designed to add solar management, power monitoring, automatic source switching, and configurable control functions to a Car Inverter Or conventional UPS.

⚠️ Safety Warning: This project can involve battery currents, inverter output, and potentially lethal AC mains voltage. Do not work on energized circuits. Use appropriate fuses, isolation, protection, wiring, relay ratings, and enclosure clearances.

# Video link：

Will be uploaded soon.

# Project Support & Sponsors

The development of Solar Device Advance was made possible with support from OSHWLab, EasyEDA, and JLCPCB.

We sincerely thank these organizations for providing complimentary PCBs and electronic components used during the development and testing of this project.

OSHWLab

EasyEDA

JLCPCB

Thank you to OSHWLab, EasyEDA, and JLCPCB for supporting DIY and open-source hardware development.

# Introduction

This Solar Device enables the user to built your own Solar System using a car inverter & charge controller OR to convert conventional UPS into Solar inverter.

Existing small/household UPS units provide battery-backed AC output but typically do not accept solar input or intelligently prioritise solar energy. Retrofitting these UPS units with a dedicated controller converts them to hybrid solar inverters at a fraction of the cost of buying a commercial solar inverter.

| Parameter | Description |
| --- | --- |
| Controller | ESP32 |
| Display | 1.8" TFT |
| Current sensing | ACS712 |
| Power sources | Solar / Grid / Battery |
| Inverter | Conventional UPS / Car inverter |
| Solar charging | External charge controller |
| Source switching | Relay-based |
| User interface | TFT + keypad |
| Connectivity | Wi-Fi / Bluetooth |
| Firmware | ESP32 |
| Project type | DIY / Open Source |

# Project function

The controller integrates power monitoring, Solar charge regulation, automatic transfer switching (between grid, battery, and solar). It monitors PV voltage, battery voltage,  Output/load current, and grid status; then makes intelligent switching.

# User Interface

The Device provides a menu-based interface for system monitoring and configuration.

3

1

2

4

5

6

- Working mode: Running on Grid or Battery

- Solar Status

- Load Status

- Grid Status

- Battery Status

- Settings

# Hardware description

## Main Board

### MicroController

The main controller is based on an ESP32.

The ESP32 handles:

- System-state monitoring

- Relay control

- Display control

- Keypad input

- Settings

- Fault handling

- Operating logic

- Communication functions

The ESP32 also provides Wi-Fi and Bluetooth/BLE hardware for possible future expansion and remote monitoring functions.

### Power Monitoring

The controller monitors the electrical parameters.

These include the system's relevant:

- Solar/PV voltage

- Battery voltage

- AC/grid status

- UPS output/load condition

- Output Current measurements

The actual measurement circuits, scaling networks, sensor connections, and protection components are shown in the project schematic.

### Current Measurement

Current measurement is performed using ACS712 current sensors.

The measured current is read by the ESP32 ADC and processed by the firmware.

Current measurements are used for system monitoring and control functions implemented in the System.

Sensor calibration is required to obtain accurate measurements.

### Battery Monitoring

The controller monitors battery voltage.

Battery measurements can be used by the device to determine battery operating conditions and activate the configured battery protection behavior.

The actual battery limits and settings should be configured according to the battery type and the connected UPS/inverter system.

### Grid Detection

The controller monitors the grid/AC input through the dedicated detection circuit.

The controller uses the grid status as one of the inputs for automatic operating-state decisions.

### Solar Monitoring

Solar/PV conditions are monitored by the controller through the implemented voltage sensing circuits.

The controller uses these measurements to determine the available solar condition and display the relevant information to the user.

The controller can work with an external solar charge controller as part of the overall system.

### Relay Control

Relay outputs are controlled by the ESP32 through the relay-driver circuitry implemented on the PCB.

Relay 1 for AC charging

Relay 2 for Inverter control

Relay 3 for Load Shifting

The relay contacts must be rated appropriately for the connected voltage, current, load type, and inrush current.

Refer to the schematic for the exact circuit implementation.

## Display

A 1.8-inch TFT display provides the main user interface.

The display is used to show system information such as:

- Operating status

- Solar parameters

- Battery parameters

- Load/current information

- Grid status

- System state

- Settings

| Home Screen | Solar UI | Battery UI |
| --- | --- | --- |

| Load UI | Grid UI | Setting UI |
| --- | --- | --- |

## Keypad

A dedicated keypad is provided for navigation and configuration.

The keypad allows the user to:

- Navigate through menus

- Change settings

- Select operating options

- Confirm selections

- Return to previous menus

- Access monitoring pages

### Key functions

| Key | Function |
| --- | --- |
| Key 1 | UP |
| Key 2 | DOWN |
| Key 3 | ENTER |

# Settings

The device provides configurable parameters through the keypad and TFT interface.

The available settings depend on the current firmware version.

Examples include:

- Operating mode

- Battery thresholds

- Solar-related thresholds

- Switching parameters

- Protection limits

- Display settings

# Firmware

The controller firmware is written on ArduinoIDE for the ESP32.

The latest firmware is available in the GitHub repository.

### GitHub

Solar Device Advance – GitHub Repository

Complete process to upload the firmware is described in the document:

How to upload the firmware

# Enclosure

## Casing

## Back plate

## Connection cover

# Assembling

Reserve

Firmware upload

Reserve

To Keypad

To LCD

Connect 1.8” TFT LCD to CN1 connector of the mainboard and keypad to the CN2 connector of the mainboard as mentioned in the figure.

# Finished product display

# Calibrations

The measurement channels should be calibrated before normal operation.

Calibration may be required for:

- PV voltage

- Battery voltage

- Current sensors

- Grid Voltage

- Other analog measurement channels

Use a calibrated multimeter or suitable reference instrument when performing calibration.

The calibration procedure and values should correspond to the actual hardware and firmware version.

# Troubleshooting

| Problem | Possible Cause |
| --- | --- |
| TFT does not start | Wiring, power, SPI configuration, or firmware |
| Keypad not responding | Wiring or GPIO configuration |
| Voltage reading incorrect | Calibration or voltage-divider configuration |
| Current reading incorrect | ACS712 offset/calibration |
| Relay does not operate | Driver, GPIO, relay supply, or wiring |
| Grid status incorrect | Grid detection circuit or configuration |
| ESP32 resets | Power supply, noise, or wiring |
| Incorrect source switching | Firmware settings or sensing conditions |

For detailed troubleshooting, compare the measured hardware signals with the schematic and configuration.

# Limitations

This project is designed to work with the hardware configuration documented in the repository.

Performance and measurement accuracy depend on:

- Sensor accuracy

- Component tolerances

- PCB design

- Calibration

- Power supply quality

- UPS/inverter characteristics

- Relay/contact ratings

- Installation and wiring

# Future Development

Possible future improvements include:

- Wi-Fi monitoring

- Web dashboard

- Mobile monitoring

- Energy logging

- Remote notifications

- OTA firmware updates

- Data logging

- Additional operating modes

- Improved measurement accuracy

- Additional battery-management functions

# Disclaimer

This project is provided “as is” for educational, experimental, and DIY purposes.

The system may involve high battery currents, solar DC voltage, inverter output, and potentially lethal AC mains voltage. Incorrect wiring, component selection, firmware configuration, or installation can result in electric shock, fire, equipment damage, battery damage, or other hazards.

The author assumes no responsibility for injury, death, equipment damage, fire, property damage, or any other loss resulting from the construction, modification, installation, or use of this project.

Do not work on energized circuits.

If you are not experienced with mains-voltage or high-current electrical systems, seek assistance from a qualified professional.

# Project Status

Status: Development / Testing

The hardware and firmware are under continuous development. Features, circuit designs, firmware behavior, and documentation may change between versions.